Resolution

of the 3-rd session of ТC 1.2 «Acoustics. Ultrasound. Vibration»

held on 06-07.09.2004 in DP NDI "Systema", Lvov, Ukraine

- After having noted the report of Pozdeeva V.V., Chair of ТC 1.2 concerning the results of work from July 2003 to August 2004, participants pointed to the efficient operation of committee including efficient implementation of МRА.

- After having discussed the subjects proposed, participants of session decided on the following:

- to include a subject No 308/RU/04 „Key comparisons of national standards of units of parameters of vibration (regarding unit of linear sinusoidal wave acceleration at frequency from 20 Hz up to 5000 Hz)” in the CООМЕТ program of comparisons;

- to include a subject „Calibration of microphones type LS2P using pressure at frequency from 20 Hz up to 20 кHz” in the CООМЕТ program of comparisons, whereby participants and a pilot laboratory shall be identified;

- to identify the status of the above comparison after a list of participants is established;

- to include a subject "Calibration of microphones type LS2 using a free field at frequency from 2 кHz up to 25 кHz" in the CООМЕТ program of comparisons;

- to expand a calibration frequency range up to 31,5 кHz specifically for the above  subject as requested by participants;

- to assign these comparisons with the pilot status;

- to include the draft document «Bilateral comparison of calibrations of microphones type LS1P» (between РТВ, Germany and DP "Systema", Ukraine) in the CООМЕТ program of comparisons.

3. After having discussed the draft document «Regulations on comparison of CООМЕТ NМI standards», participants have pointed that the following parts of this document should be revised:

- terms and definitions (regarding the reference values of CООМЕТ comparisons);

- list of abbreviations (it should be an individual part of the document);

- purpose of document given in introductory part:

to clarify in the note that requirements of this document are not applicable to the comparisons with participation of CООМЕТ members which are conducted within the framework of  CIPM or BIPM Consultative Committee.

- item 7.4: to delete words “and TC 1.1" since the Report A contains information confidential for the participants of comparisons;

- item 7.7: to make it informative as recommended by participants of the session.

4. After having discussed the report of Dr. Fedtke on results of key comparisons COOMET.AUV.A-K1, participants decided on the following:

    - to include corrected data (calibration results) of Slovakia in the report A (Version 3);

    - to perform calculation of reference values without taking into account the data of Ukraine. However not to delete these data in tables and figures;

    - to ask Dr. Fedtke to give explanations regarding correction of the Slovakian data and ignoring the Ukrainian data when calculating the reference values in the appendix to this report;

    - to ask Dr. Fedtke to distribute the Report A (Version 3) to each participant (for approval) and to chair of ТC 1.2 (for information).

- After having discussed the organization of 3-rd session and training seminar, attendants as well as results of session, participants pointed to the role and efficiency of the international cooperation between experts of the countries represented in various Regional Metrological Organizations.

- CООМЕТ ТC 1.2 would like to thank two colleagues from ЕURОМЕТ: 
Dr. Frederiksen and Dr. Barham for their active engagement and hopes for further cooperation including the implementation of joint projects associated with comparisons.

- After having discussed a venue and date of the 4-th session of ТC and taking into account great interest in research, technical and methodical experience gained by РТВ in the field of acoustic measurements, ultrasound and vibration, participants of this session would like to ask Dr. Fedtke to contact РТВ administration and make a request for organizing the next ТC session in Germany.

Participants would like to thank DP NDI "Systema" for being well prepared for this event and for a warm welcome.

V. Pozdeeva

Chair, ТC1.2